## Sheet1
October
[6 empty] | CONT123 to provide |  |  |  | CONT123 to provide
Date | Energy produced (in kWh) | Radiation (in Wh/m2) | Gross PR (in %) | Net PR (in %) | Availability (in %) | Module Temp. (in °C) | Down time client | Comment | Check | Date | Inverter #1 | Inverter #2 | Inverter #3 | Inverter #4 | Inverter #5 | Inverter #6 | Inverter #7 | Inverter #8 | Inverter #9 | Inverter #10 | Inverter #11 | Inverter #12 | Inverter #13 | Inverter #14 | Inverter #15 | Inverter #16 | Inverter #17 | Inverter #18 | Inverter #19 | Inverter #20 | Inverter #21 | Inverter #22 | Inverter #23 | Inverter #24 | Inverter #25 | All inverters
1st | 4226 | 7000.165 | 75.94% | 75.94% | 100% | 36.9 |  |  | 60.37% | 1st | 79.55% | 78.66% | 77.31% | 74.61% | 73.26% | 75.51% | 75.96% | 75.51% | 75.51% | 78.66% | 76.41% | 75.96% | 78.21% | 78.21% | 77.31% | 75.96% | 79.11% | 77.31% | 78.66% | 78.21% | 76.41% | 75.51% | 75.51% | 75.51% | 75.51% | 76.73%
2nd | 3128 | 5180.51 | 75.95% | 75.95% | 100% | 36.35 |  |  | 60.38% | 2nd | 84.49% | 82.67% | 79.02% | 73.55% | 73.55% | 74.76% | 74.76% | 74.76% | 74.16% | 80.23% | 75.37% | 78.41% | 79.63% | 80.23% | 79.63% | 74.16% | 81.45% | 78.41% | 80.23% | 80.84% | 74.16% | 74.16% | 74.16% | 73.55% | 74.76% | 77.24%
3rd | 1838 | 5391.3225 | 42.88% | 78.03% | 100% | 36.87 | down time client |  | 34.09% | 3rd | 48.46% | 47.88% | 46.13% | 44.38% | 43.79% | 37.37% | 43.79% | 44.38% | 44.38% | 46.13% | 44.38% | 46.13% | 46.71% | 46.71% | 45.55% | 43.79% | 46.71% | 46.13% | 46.71% | 46.71% | 43.79% | 44.38% | 43.79% | 43.79% | 43.21% | 45.01%
4th | 25 | 4951.1175 | 0.6351% | 74.87% | 99.21% | 36.98 | down time client |  | 0.5049% | 4th | 3.82% | 3.82% | 3.82% | 3.18% | 3.82% | 0% | 4.45% | 4.45% | 4.45% | 5.09% | 4.45% | 5.72% | 4.45% | 4.45% | 5.09% | 4.45% | 4.45% | 4.45% | 5.09% | 4.45% | 4.45% | 4.45% | 4.45% | 4.45% | 3.82% | 4.223%
5th | 3104 | 5014.8325 | 77.86% | 78% | 99.84% | 36.88 |  |  | 61.9% | 5th | 76.64% | 77.27% | 79.15% | 79.15% | 78.52% | 80.41% | 81.03% | 80.41% | 80.41% | 79.78% | 81.03% | 76.64% | 77.89% | 78.52% | 77.89% | 81.03% | 78.52% | 79.15% | 79.15% | 78.52% | 81.03% | 81.03% | 80.41% | 80.41% | 81.03% | 79.4%
6th | 2790 | 4546.55 | 77.19% | 77.19% | 100% | 36.4 |  |  | 61.37% | 6th | 88.01% | 85.23% | 79.69% | 74.15% | 73.45% | 75.53% | 75.53% | 74.84% | 74.84% | 81.77% | 75.53% | 80.38% | 83.16% | 82.46% | 81.77% | 75.53% | 83.16% | 81.08% | 83.16% | 83.16% | 75.53% | 74.84% | 74.84% | 74.15% | 74.84% | 78.67%
7th | 2719 | 4385.8025 | 77.98% | 77.98% | 100% | 36.15 |  |  | 62% | 7th | 85.38% | 84.66% | 80.36% | 75.33% | 75.33% | 77.49% | 77.49% | 76.77% | 76.77% | 83.23% | 78.2% | 81.07% | 81.07% | 82.51% | 81.79% | 76.05% | 83.94% | 81.07% | 82.51% | 82.51% | 77.49% | 77.49% | 76.77% | 76.77% | 76.77% | 79.55%
8th | 899 | 1368.2175 | 82.65% | 82.65% | 99.99% | 34.7 |  |  | 65.71% | 8th | 85.62% | 87.93% | 87.93% | 90.24% | 90.24% | 57.85% | 90.24% | 90.24% | 90.24% | 90.24% | 90.24% | 92.56% | 90.24% | 90.24% | 90.24% | 92.56% | 90.24% | 90.24% | 90.24% | 90.24% | 92.56% | 92.56% | 90.24% | 90.24% | 92.56% | 89.04%
9th | 1171 | 1761.05 | 83.64% | 83.64% | 100% | 35.09 |  |  | 66.49% | 9th | 82.78% | 84.58% | 88.18% | 88.18% | 89.98% | 91.78% | 89.98% | 89.98% | 88.18% | 89.98% | 88.18% | 88.18% | 88.18% | 88.18% | 86.38% | 89.98% | 88.18% | 88.18% | 88.18% | 88.18% | 89.98% | 89.98% | 89.98% | 89.98% | 89.98% | 88.61%
10th | 449 | 1611.205 | 35.05% | 60.77% | 85.12% | 34.77 | down time client |  | 27.87% | 10th | 49.17% | 49.17% | 49.17% | 49.17% | 49.17% | 47.2% | 49.17% | 31.47% | 51.13% | 25.57% | 49.17% | 29.5% | 31.47% | 49.17% | 49.17% | 49.17% | 49.17% | 49.17% | 33.43% | 23.6% | 49.17% | 29.5% | 31.47% | 25.57% | 31.47% | 41.22%
11th | 36 | 3303.1525 | 1.371% | 74.87% | 100% | 35.78 | down time client |  | 1.09% | 11th | 5.71% | 5.71% | 4.76% | 4.76% | 5.71% | 0.95% | 5.71% | 5.71% | 4.76% | 5.71% | 5.71% | 7.62% | 5.71% | 4.76% | 5.71% | 5.71% | 4.76% | 5.71% | 5.71% | 5.71% | 5.71% | 5.71% | 5.71% | 4.76% | 6.67% | 5.406%
12th | 2471.99 | 3687.465 | 84.32% | 84.32% | 99.65% | 37.26 |  |  | 67.04% | 12th | 82.04% | 82.85% | 76.35% | 74.73% | 79.6% | 82.04% | 82.04% | 82.04% | 82.04% | 83.66% | 82.85% | 80.41% | 82.04% | 82.85% | 82.04% | 81.23% | 83.66% | 82.85% | 83.66% | 82.85% | 82.04% | 82.85% | 81.23% | 81.23% | 82.04% | 81.65%
13th | 97 | 1412.425 | 8.639% | 78.06% | 95.96% | 34.64 | down time client |  | 6.868% | 13th | 0% | 18.08% | 18.08% | 18.08% | 20.34% | 6.78% | 20.34% | 20.34% | 20.34% | 20.34% | 20.34% | 24.86% | 20.34% | 20.34% | 22.6% | 22.6% | 20.34% | 22.6% | 20.34% | 20.34% | 22.6% | 20.34% | 22.6% | 20.34% | 20.34% | 19.35%
14th | 2861 | 4680.4225 | 76.89% | 76.89% | 99.23% | 34.27 |  |  | 61.13% | 14th | 71.89% | 78.61% | 78.61% | 77.94% | 77.26% | 79.28% | 79.28% | 78.61% | 78.61% | 80.62% | 79.28% | 77.26% | 77.94% | 78.61% | 77.26% | 78.61% | 79.95% | 77.94% | 78.61% | 78.61% | 79.28% | 79.28% | 78.61% | 78.61% | 79.28% | 78.39%
15th | 3698 | 4506.095 | 77.32% | 77.32% | 99.63% | 36.3 |  |  | 82.07% | 15th | 81.18% | 80.65% | 55.18% | 52.53% | 76.94% | 78.53% | 79.06% | 78.53% | 78.53% | 80.65% | 79.59% | 78% | 79.59% | 80.65% | 79.59% | 79.06% | 81.18% | 80.12% | 80.65% | 80.12% | 79.06% | 78.53% | 78.53% | 78% | 78.53% | 77.32%
16th | 1174 | 1823.0725 | 81% | 81% | 99.97% | 35.08 |  |  | 64.4% | 16th | 83.12% | 84.85% | 84.85% | 83.12% | 83.12% | 86.58% | 86.58% | 84.85% | 84.85% | 86.58% | 84.85% | 86.58% | 83.12% | 84.85% | 84.85% | 84.85% | 86.58% | 86.58% | 86.58% | 84.85% | 84.85% | 84.85% | 84.85% | 84.85% | 84.85% | 85.06%
17th | 759 | 1146.1775 | 83.3% | 83.31% | 100% | 34.66 |  |  | 66.22% | 17th | 87.09% | 87.09% | 87.09% | 87.09% | 89.81% | 89.81% | 87.09% | 89.81% | 89.81% | 89.81% | 87.09% | 92.53% | 87.09% | 87.09% | 89.81% | 87.09% | 87.09% | 87.09% | 89.81% | 89.81% | 89.81% | 89.81% | 87.09% | 87.09% | 89.81% | 88.5%
18th | 1022 | 1548.27 | 83.03% | 85.11% | 100% | 34.86 |  |  | 66.01% | 18th | 84.1% | 86.15% | 88.21% | 88.21% | 88.21% | 86.15% | 90.26% | 88.21% | 88.21% | 88.21% | 88.21% | 88.21% | 88.21% | 88.21% | 86.15% | 90.26% | 88.21% | 88.21% | 88.21% | 88.21% | 90.26% | 92.31% | 90.26% | 90.26% | 90.26% | 88.45%
19th | 792 | 1800.095 | 55.34% | 57.82% | 82.54% | 35.53 |  |  | 44% | 19th | 59.32% | 59.32% | 59.32% | 57.57% | 59.32% | 61.06% | 59.32% | 57.57% | 59.32% | 59.32% | 59.32% | 59.32% | 57.57% | 47.1% | 59.32% | 59.32% | 57.57% | 57.57% | 59.32% | 59.32% | 57.57% | 57.57% | 57.57% | 57.57% | 59.32% | 58.27%
20th | 1779 | 2871.655 | 77.92% | 77.92% | 100% | 35.99 |  |  | 61.95% | 20th | 85.42% | 85.42% | 79.94% | 76.66% | 75.56% | 77.75% | 77.75% | 77.75% | 77.75% | 83.23% | 77.75% | 82.13% | 82.13% | 82.13% | 82.13% | 76.66% | 84.32% | 82.13% | 83.23% | 82.13% | 77.75% | 77.75% | 76.66% | 75.56% | 77.75% | 79.9%
21st | 2255 | 3705.0775 | 76.56% | 76.56% | 100% | 36.25 |  |  | 60.86% | 21st | 90.67% | 87.28% | 80.5% | 72.03% | 72.03% | 73.72% | 73.72% | 72.88% | 72.88% | 83.04% | 74.57% | 82.2% | 82.2% | 83.89% | 82.2% | 72.88% | 84.74% | 83.04% | 83.89% | 83.04% | 72.88% | 72.88% | 72.03% | 72.88% | 72.03% | 78.16%
22nd | 3200 | 5265.01 | 76.45% | 76.64% | 100% | 36.61 |  |  | 60.78% | 22nd | 78.4% | 79% | 78.4% | 76.01% | 76.01% | 78.4% | 78.4% | 77.8% | 77.8% | 79.6% | 78.4% | 76.01% | 77.2% | 78.4% | 77.2% | 76.6% | 79% | 78.4% | 77.8% | 77.8% | 78.4% | 77.2% | 77.2% | 76.6% | 77.8% | 77.75%
23rd | 3330 | 5413.355 | 77.38% | 77.38% | 100% | 36.28 |  |  | 61.51% | 23rd | 83.13% | 82.55% | 79.06% | 75.57% | 74.99% | 77.32% | 77.32% | 77.32% | 76.73% | 81.97% | 77.9% | 78.48% | 79.64% | 80.8% | 80.22% | 76.73% | 82.55% | 79.64% | 81.38% | 80.8% | 77.32% | 76.73% | 76.73% | 76.73% | 76.15% | 78.71%
24th | 3877 | 6428.46 | 75.86% | 76.13% | 100% | 35.55 |  |  | 60.31% | 24th | 83.24% | 82.75% | 78.35% | 72.96% | 72.47% | 74.92% | 74.92% | 74.43% | 74.43% | 79.82% | 75.9% | 77.86% | 78.84% | 79.82% | 78.84% | 73.94% | 80.8% | 78.84% | 80.31% | 79.82% | 74.43% | 73.94% | 73.94% | 73.94% | 73.94% | 76.94%
25th | 171 | 6024.9225 | 3.57% | 10.08% | 68.22% | 36.68 |  |  | 2.838% | 25th | 6.78% | 6.26% | 4.69% | 3.13% | 3.13% | 3.13% | 3.13% | 2.61% | 3.13% | 4.69% | 2.61% | 5.22% | 5.22% | 5.74% | 5.74% | 2.61% | 5.22% | 4.69% | 5.74% | 5.22% | 2.61% | 2.61% | 2.61% | 2.61% | 2.61% | 4.07%
26th | 3310 | 5478.9475 | 75.99% | 76.05% | 99.81% | 36.96 |  |  | 60.41% | 26th | 84.91% | 80.89% | 78.59% | 72.86% | 72.28% | 74.01% | 74.01% | 74.01% | 74.01% | 80.32% | 75.15% | 78.59% | 80.32% | 80.32% | 79.74% | 74.01% | 82.04% | 79.17% | 80.89% | 80.32% | 74.58% | 74.01% | 74.01% | 73.43% | 74.01% | 77.06%
27th | 1800 | 2874.7475 | 78.76% | 78.76% | 100% | 36.11 |  |  | 62.61% | 27th | 82.18% | 83.27% | 81.08% | 77.79% | 77.79% | 81.08% | 81.08% | 81.08% | 79.99% | 83.27% | 81.08% | 81.08% | 81.08% | 82.18% | 81.08% | 79.99% | 82.18% | 81.08% | 82.18% | 82.18% | 81.08% | 81.08% | 79.99% | 79.99% | 81.08% | 81.04%
28th | 2326 | 3691.4275 | 79.26% | 79.26% | 100% | 36.13 |  |  | 63.01% | 28th | 85.34% | 84.48% | 80.22% | 77.66% | 77.66% | 78.51% | 79.36% | 78.51% | 78.51% | 83.63% | 79.36% | 81.07% | 81.92% | 82.78% | 81.92% | 79.36% | 84.48% | 82.78% | 84.48% | 83.63% | 79.36% | 79.36% | 79.36% | 78.51% | 79.36% | 80.86%
29th | 1571 | 2490.57 | 79.34% | 79.34% | 99.22% | 35.42 |  |  | 63.08% | 29th | 82.17% | 80.91% | 82.17% | 79.64% | 79.64% | 82.17% | 82.17% | 80.91% | 82.17% | 83.44% | 80.91% | 80.91% | 82.17% | 82.17% | 82.17% | 82.17% | 83.44% | 82.17% | 83.44% | 83.44% | 83.44% | 83.44% | 82.17% | 83.44% | 82.17% | 82.12%
30th | 3221 | 5212.6875 | 77.73% | 77.73% | 100% | 36.39 |  |  | 61.79% | 30th | 83.27% | 82.67% | 80.86% | 76.03% | 75.43% | 77.84% | 77.24% | 77.24% | 76.63% | 82.67% | 77.84% | 80.25% | 80.86% | 81.46% | 80.86% | 77.24% | 82.67% | 80.86% | 81.46% | 80.86% | 76.63% | 76.63% | 76.63% | 76.63% | 76.63% | 79.1%
31st | 2436.01 | 4303.585 | 71.2% | 75.87% | 99.98% | 36.15 |  |  |  |  | 76.8% | 76.07% | 73.87% | 71.68% | 70.95% | 58.51% | 72.41% | 71.68% | 72.41% | 75.33% | 71.68% | 73.87% | 74.6% | 75.33% | 74.6% | 72.41% | 76.07% | 73.14% | 75.33% | 75.33% | 71.68% | 71.68% | 71.68% | 71.68% | 72.41% | 72.85%
TOT | 62536 | 118878.3925 | - | - | - | - | - | [28 empty] | -
AVE | 2003.333 | 3819.1603 | 66.17% | 76.21% | 97.69% | 35.9352 | - |  |  | AVE | 69.7% | 70.22% | 67.77% | 65.42% | 66.43% | 65.37% | 67.86% | 66.93% | 67.52% | 69.57% | 67.85% | 68.61% | 68.67% | 69.36% | 69.32% | 67.61% | 70.38% | 69.35% | 69.69% | 69.06% | 67.93% | 67.18% | 66.81% | 66.42% | 67.13% | 68.09%
[6 empty] | days of down time client = | 5
[6 empty] | Energy produced excl. down time client = | 60091
Peak kWh |  | Off Peak kWh |  |  |  | Production adjusted to down time client = | 71646.9615
| 0% |  | 0% |  |  |  | (for PPA purpose)
Waterfall chart
Forecast production |  | 84342.2496
Radiation |  | -10618.1977
Down time client |  | -8466.3797
PR |  | -2358.1852
Availability |  | -363.4869
Actual production |  | 62536
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Sheet2
Remark: to fit in the monthly O&M report, the table below must be copy-pasted as a PDF
August 2018 | Irradiation (Wh / m2) |  |  | Performance Ratio |  |  | Availability |  | Production (kWh)
Asset data |  |  |  | Revenue USD |  |  |  |  | Production kWh
| Actual | Forecast | Var % | Gross PR | Net PR | Forecast | Actual | Forecast | Actual | Forecast | Var %
2017-08-31 | 137100 | 137100 |  |  |  | 79.9% | 72.92% | 99.5% | 20233 | 86651.1725 | -76.65%
2017-09-30 | 162408.88 | 128500 | 26.39% | 71.12% | 78.3% | 80.2% | 100% | 99.5% | 92513.48 | 81520.6634 | 13.48%
2017-10-31 | 144085.92 | 136000 | 5.946% | 65.18% | 80.5% | 80.2% | 100% | 99.5% | 74112.15 | 86278.6788 | -14.1%
2017-11-30 | 125859.39 | 138200 | -8.93% | 73.21% | 81.6% | 80.4% | 100% | 99.5% | 71429.2 | 87893.0026 | -18.73%
2017-12-31 | 140085.19 | 140000 | 0.06085% | 63.75% | 80.1% | 80.7% | 100% | 99.5% | 70545 | 89370.0045 | -21.06%
2018-01-31 | 143110.22 | 143500 | -0.2716% | 71.81% | 79.29% | 80.8% | 100% | 99.5% | 81564 | 91717.7667 | -11.07%
2018-02-28 | 140345.25 | 142200 | -1.304% | 73.37% | 76.67% | 80.1% | 100% | 99.5% | 82026.39 | 90099.4878 | -8.96%
2018-03-31 | 181139.68 | 172600 | 4.948% | 77.66% | 77.66% | 79.2% | 100% | 99.5% | 111256 | 108132.4847 | 2.889%
2018-04-30 | 170376.21 | 173100 | -1.574% | 77.14% | 77.54% | 78.9% | 100% | 99.5% | 103463 | 108034.9513 | -4.232%
2018-05-31 | 179801.36 | 161500 | 11.33% | 73.45% | 77.27% | 79.2% | 100% | 99.5% | 104833 | 101178.4257 | 3.612%
2018-06-30 | 168135.61 | 150600 | 11.64% | 77.75% | 77.75% | 80% | 100% | 99.5% | 102018 | 95302.692 | 7.046%
2018-07-31 | 157606.5 | 147200 | 7.07% | 75.53% | 78.56% | 80.1% | 100% | 99.5% | 93186 | 93267.5429 | -0.08743%
YEAR 1 | 1850054.21 | 1770500 | 4.493% | 72.72% | 78.66% | 79.97% | 97.74% | 99.5% | 1007179.22 | 1119446.8728 | -10.03%
2018-08-31 | 151235.12 | 137100 | 10.31% | 77.66% | 78.68% | 79.3% | 100% | 99.5% | 93091 | 86000.4753 | 8.245%
2018-09-30 | 159007.87 | 128500 | 23.74% | 75.37% | 76.5% | 79.6% | 98.97% | 99.5% | 94198 | 80910.7831 | 16.42%
2018-10-31 | 163076.25 | 136000 | 19.91% | 74.84% | 77.31% | 79.6% | 100% | 99.5% | 96763 | 85633.2024 | 13%
2018-11-30 | 146850.5 | 138200 | 6.259% | 58.4% | 77.54% | 79.8% | 100% | 99.5% | 67365 | 87237.0847 | -22.78%
2018-12-31 | 136757.5 | 140000 | -2.316% | 44.44% | 77.84% | 80.1% | 100% | 99.5% | 49358 | 88705.5435 | -44.36%
2019-01-31 | 138178.75 | 143500 | -3.708% | 70.04% | 77.75% | 80.2% | 100% | 99.5% | 75664.274 | 91036.6942 | -16.89%
2019-02-28 | 156207.75 | 142200 | 9.851% | 66.85% | 73.32% | 79.5% | 99.79% | 99.5% | 82519 | 89424.5852 | -7.722%
2019-03-31 | 183023.5 | 172600 | 6.039% | 70.41% | 75% | 78.6% | 100% | 99.5% | 102984 | 107313.2992 | -4.034%
2019-04-30 | 203032.5 | 173100 | 17.29% | 73.36% | 75.24% | 78.3% | 100% | 99.5% | 118571.12 | 107213.3927 | 10.59%
2019-05-31 | 176372 | 161500 | 9.209% | 69.46% | 77.56% | 78.6% | 100% | 99.5% | 93327 | 100411.9225 | -7.056%
2019-06-30 | 170303.75 | 150600 | 13.08% | 54.31% | 77.26% | 79.4% | 99.95% | 99.5% | 73163 | 94587.9218 | -22.65%
2019-07-31 | 176058.3 | 147200 | 19.6% | 58.36% | 78.03% | 79.5% | 100% | 99.5% | 80141 | 92568.9096 | -13.43%
YEAR 2 | 1960103.79 | 1770500 | 10.71% | 66.12% | 76.84% | 79.38% | 99.89% | 99.5% | 1027144.394 | 1111043.8143 | -7.551%
2019-08-31 | 159382.3525 | 137100 | 16.25% | 63.93% | 78.79% | 78.7% | 100% | 99.5% | 78552 | 85349.7781 | -7.965%
2019-09-30 | 145910.22 | 128500 | 13.55% | 67.67% | 78.2% | 79% | 100% | 99.5% | 78500 | 80300.9029 | -2.243%
2019-10-31 | 172666.7825 | 136000 | 26.96% | 67.86% | 76.7% | 79% | 99.31% | 99.5% | 93150.01 | 84987.726 | 9.604%
2019-11-30 | 158164.845 | 138200 | 14.45% | 68.83% | 75.6% | 79.2% | 100% | 99.5% | 86545 | 86581.1668 | -0.04177%
2019-12-31 | 158039.7425 | 140000 | 12.89% | 50.77% | 72.1% | 79.5% | 98.02% | 99.5% | 63784 | 88041.0825 | -27.55%
2020-01-31 | 159590.4025 | 143500 | 11.21% | 65.98% | 77.11% | 79.6% | 99.89% | 99.5% | 83713.99 | 90355.6216 | -7.351%
2020-02-29 | 160024.5634 | 142200 | 12.53% | 72.69% | 75.41% | 78.9% | 99.88% | 99.5% | 92473.98 | 88749.6827 | 4.196%
2020-03-31 | 194253.0654 | 172600 | 12.55% | 68.29% | 73.77% | 78% | 99.84% | 99.5% | 105454.09 | 106494.1137 | -0.9766%
2020-04-30 | 185326.7075 | 173100 | 7.063% | 65.85% | 75.07% | 77.7% | 95.96% | 99.5% | 97027 | 106391.8342 | -8.802%
2020-05-31 | 191303.0097 | 161500 | 18.45% | 50.91% | 75.19% | 78% | 94.82% | 99.5% | 77425 | 99645.4193 | -22.3%
2020-06-30 | 169971.4075 | 150600 | 12.86% | 53.1% | 76.47% | 78.8% | 96.41% | 99.5% | 71759 | 93873.1516 | -23.56%
2020-07-31 | 184962.1575 | 147200 | 25.65% | 51.63% | 76.04% | 78.9% | 97.55% | 99.5% | 75913 | 91870.2763 | -17.37%
YEAR 3 | 2039595.256 | 1770500 | 15.2% | 62.29% | 75.87% | 78.78% | 98.47% | 99.5% | 1004297.07 | 1102640.7557 | -8.919%
2020-08-31 | 167410.485 | 137100 | 22.11% | 53.21% | 76.56% | 78.1% | 98.8% | 99.5% | 70824 | 84699.081 | -16.38%
2020-09-01 | 157518.5769 | 128500 | 22.58% | 54.56% | 76.7% | 78.4% | 99.85% | 99.5% | 68319 | 79691.0226 | -14.27%
2020-10-01 | 118878.3925 | 136000 | -12.59% | 66.17% | 76.47% | 78.4% | 97.69% | 99.5% | 62536 | 84342.2496 | -25.85%
1.934%